| Document Title | Third Party Request Form |  |  |
| --- | --- | --- | --- |
| Applicable Company SINCROSITEWATCH |  | Document Number SIT040293,050338,050337,050335,050334,050333, |  |
| Site ID 6230,6180,6447,6103,6190,6105, |  | Site Name Bulongwa,Matogoro,Makambako1,Ilungu,Luponde,Uwemba |  |
| Requester Information |  |  |  |
| Company | SINCRO SITE WATCH |  |  |
| Name | ANTHONY SEZARY | Job Title | FS |
| Mobile Number | +255658500922 | Date | 07/03/2016 |
| Project | INSTALLATION OF OUTDOOR RECTIFIER CHASSIS |  |  |
| Purpose of change | Curative maintenancePreventive Maintenance Inspection or Investigation Change |  |  |

| Completion Required by |  |  | SINCROSITEWATCH |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Date | 07/03/2016 |  | Priority (High/Medium/Low) (C28 P5b) |  | High |  |  |
| Estimate Duration |  | Begin Date (08/03/2016 00:30) |  | End Date (16/03/16 04:30) |  |  |  |
| Expected Results |  | NO MORE FREQUENT CALL OUT/OOS COUNTS. |  |  |  |  |  |
| Details of change or Description of the work (Advise any attachments). - Slub Construction 1x1 M - Supplied and installation of 50mm DC cable Blue 15Mtrs - Supplied and installation of 50mm DC cable Red 15Mtrs - Supplied and installation of 50mm Ring lugs 2pcs - Supplied and installation of 50mm Pin lugs 2pcs - Supplied and installation of 16mm Armored cable 15Mtrs - Supplied and installation of 15mm Ring Lugs 9pcs - Supplied and installation of 70mm Earth cable 5Mtrs - Supplied and installation of 160A DC Load breaker 1Pc (Single pole) - Supplied and installation of Tranken Box 1pc - Supplied and installation of 2Inch PVC Pipe 1pc - Supplied and installation of 2Inch PVC Pipe Hellbor 4pcs - Supplied and installation of Foam solution 1pc - Supplied and installation of Alarm Cable 20mtrs - Supplied and installation of flexible Conduit pipe. Impact of Change; Space Affecting (On tower, on ground); Y; N; Power Affecting; Y; N; Other Affecting; Y; N. Details of Impact. Implementation Test Plan. Pre Implementation Test Plan(include attachments where applicable). Final Implementation Test Plan(include attachments where applicable). |
| Confidentiality & Security Clause |  |  |  |  |  |  |  |
| Does Third-Party accept to follow all HTT rules in terms of access security and confidentiality during intervention? |  |  |  |  |  | YES | NO□ |
| For HTT only (Projet). CostImpact of Change; Space; Power; Other. Vertical; Volt. Wind load; Watt. Ground space. Cost for HTT Advise attachement; Cost for HTT Advise attachement; Cost for HTT Advise attachement. Comment. For HTT only (Commercial). Price Impact of Change; Space; Power; Other. Vertical; Volt. Wind load; Watt. Ground space. Comment. |

| Visa Third-Party (Signature and Date) | HTT Field Maintenance Supervisor (Signature and Date) | HTT Regional Supervisor approval (Signature and Date) | HTTSheq Manager (Signature and Date) | HTT Operation Manager approval (Signature and Date) | HTT Project Manager (if change request) (Signature and Date) | HTT SALES (if price issue) (Signature and Date) | HTT Finance (if financial issue) (Signature and Date) | HTT NOD Approval (Signature and Date) |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |